## Sheet1
Index | In matlab | In Simulink | Correspondence in UPPAAL | Specification
Parameters
1 | Param.TLRI_def | TLRI_def | TLRI | The maximum interval between 2 ventricular events
2 | Param.TAVI_def | TAVI_def | TAVI | The minimum delay between a ventricular event and an atrial event
3 | Param.TPVARP_def | TPVARP_def | TPVARP | The period after each atrial event in which no Ain is accepted
4 | Param.TVRP_def | TVRP_def | TVRP | The period after each ventricular event in which no Vin is accepted
5 | Param.TURI_def | TURI_def | TURI | The minimal interval between 2 ventricular events
6 | Param.URI_block | URI_block | URI_Block | The variable to record the state of URI (if it is in block_state)
7 | Param.duration_def | duration_def | duration | A monitor counter to start Duration from Pre-duration
8 | Param.entry_count_def | entry_count_def | entry_count | A counter measures fast-events in Pre-duration
9 | Param.triggerRate | triggerRate | triggerRate | sensing threshold for SVT Detector(ATR)
Local Varibales/Signals
10 | States.ifSwitch | ifSwitch | Switch! | Switch to VDI Pacemaker
11 | States.VS | VS | VS | Internal event indicating sensed ventricular event
12 | States.VP_internal | VP_internal | all VP | Internal event indicating VP is true
13 | States.AS | AS | PVARP-3 | Internal event indicating sensed atrial event
14 | States.AR | AR | PVARP-7 | Internal event indicating unsensed atrial event
15 | States.AP_internal | AP_internal | LRI-5,6 | Internal event indicating AP is true
16 | States.AP_up | AP_up |  | additional variable used in simulink&matlab for track in LRI: To classify If there exists a AS when LRI is in the initial state or tigger a VP
17 | States.URI_block | URI_block | URI_Block | A varibale monitoring if URI is in block state, avi need to wait until URI unlocked to send a VP
18 | States.TVRP_cur | TVRP_cur | VRP-t | clock in VRP
19 | States.TPVARP_cur | TPVARP_cur | PVARP-t | clock in PVARP
20 | States.TAVI_cur | TAVI_cur | AVI-t | clock in AVI
21 | States.TLRI_cur | TLRI_cur | LRI-t | clock in LRI
22 | States.TURI_cur | TURI_cur | URI-t | clock in URI
23 | States.TMon_cur | TMon_cur | CounterModel-t | clock in CounterModel
24 | States.monitor | monitor | Pre_duration-2 | Start monitors on intervals between two atrial events
25 | States.preCounter | preCounter | CounterModel-counter | A counter to record number of fast-interval
26 | States.durCounter | durCounter | Duration-durCount | Ventricular-event-timer for duration
Initialization
0 | T1 | T1 | Initial State | Initial internal events, output events and timers
VRP
27 | TV_1 | TV_1 | 1 | receive a sensed Vin, sent VS to Pacemaker, and get into VRP
28 | TV_3 | TV_3 | 3
29 | TV_2 | TV_2 | 2 | receive VP and get into VRP-period
30 | TV_4 | TV_4 | 4 | VRP-period
31 | TV_5 | TV_5 | 5 | get out of VRP-period
PVARP
32 | TP_1 | TP_1 | 1 | receive a sensed Ain, sent AS to Pacemaker
34 | TP_3 | TP_3 | 3
33 | TP_2 | TP_2 | 2 | receive Ventricular event and get into PVARP-period
36 | TP_5 | TP_5 | 5 | PVARP-period
35 | TP_4 | TP_4 | 4 | receive a unsensed Ain, sent AR to Pacemaker
38 | TP_7 | TP_7 | 7
37 | TP_6 | TP_6 | 6 | get out of PVARP-period
Pre_duration
39 | TPC_1 | TPC_1 | 1 | get into pre-duration monitor
40 | TPC_2 | TPC_2 | 2
41 | TPC_3 | TPC_3 | 3 | a Fast-event
42 | TPC_4 | TPC_4 | 4 | a slow-event
Duration
43 | TD_1 | TD_1 | 1 | Enter Duration in SVT-algorithm
44 | TD_2 | TD_2 | 2 | Duartion terminate
45 | TD_3 | TD_3 | 3 | after duration, counter value is negative, still remain in DDD-mode
46 | TD_4 | TD_4 | 4 | after duration, counter value is positive, switch to VDI Pacemaker
47 | TD_5 | TD_5 | 5 | stay in VDI-mode
48 | TD_6 | TD_6 | 6 | switch back to DDD-mode
AVI
49 | TA_1 | TA_1 | 1 | Switch to VDI Pacemaker, and switch back, since AVI shouldn't work in VDI-mode
50 | TA_2 | TA_2 | 2 | Recevie an sensed atrial event, begin AVI
51 | TA_3 | TA_3 | 3
52 | TA_4 | TA_4 | 4 | wait AVI-period ends
53 | TA_5 | TA_5 | 5 | pacemaker is not in URI, a VP is triggered
54 | TA_6 | TA_6 | 6 | pacemaker is in URI, a VP won't be triggered until get out of URI
55 | TA_7 | TA_7 | 7 | An interal transition in uppaal
LRI
56 | TL_1 | TL_1 | 1 | Switch to VDI Pacemaker, and the timer is kept
57 | TL_2 | TL_2 | 2 | Receive a Ventricular event, restart
58 | TL_3 | TL_3 | 3 | receive an AS, then won't sent AP after AEI, wait to send VP directly
59 | TL_4 | TL_4 | 4 | not receive an AS, wait to sent AP
60 | TL_5 | TL_5 | 5 | no AS, no VP/VS, then send AP after AEI
61 | TL_6 | TL_6 | 6
62 | TL_7 | TL_7 | 7 | Receive a Ventricular event, restart
63 | TL_8 | TL_8 | 8 | not receive any Ventricular event, wait to sent VP after LRI
64 | TL_9 | TL_9 | 9 | not receive any Ventricular event, wait to sent VP after LRI
66 | TL_11 | TL_11 | 11
65 | TL_10 | TL_10 | 10 | Switch to VDI Pacemaker, and the timer is kept
67 | TL_12 | TL_12 | 12 | sent VP after LRI
69 | TL_14 | TL_14 | 14
68 | TL_13 | TL_13 | 13 | Receive a Ventricular event, restart
70 | TL_15 | TL_15 | 15 | not receive any Ventricular event, wait to sent VP after LRI
71 | TL_16 | TL_16 | 16 | switch back to DDD-mode
URI
72 | TU_1 | TU_1 | 1 | Receive a Ventricular event, restart URI
73 | TU_2 | TU_2 | 2
74 | TU_3 | TU_3 | 3 | stay in URI-period
75 | TU_4 | TU_4 | 4 | get out of URI-period